## Sheet1
Title | Serial No. | Description | Custodian | Calibration Due | Location | Type (A/B/C/D) | DAQ_Sensor_ID | Category | Project Number | LocShort | ModifyAction | ID | Days Left
33340 |  | Surface Beaded Wire Probe ISO 17025 | x | 2020-06-29 | Calibration | A |  | Temperature | - |  | todays_date_flow | 540 | -2041
33198 | 110AFXQL | NoShok 15k PT ISO 17025 | x |  | Quarantine Bin | A | quarantine | Pressure | Project Number |  | todays_date_flow | 495 | NULL
34034 | 821498 | Digital Pressure Test Gauge ISO 17025 | x | 2022-10-12 |  | A |  | Pressure |  |  | todays_date_flow | 742 | -1206
35051 |  | Type T Thermocouple | x |  |  | A |  | Temperature |  |  | todays_date_flow | 1246 | NULL
PLI2652 | OM-121121348-2 | Thermocouple, K-type, CAL-4 (Omega) ISO 17025 | x |  | Calibration | A |  | Temperature |  |  | todays_date_flow | 937 | NULL